## Slide 1: Design Specifications
Customer Needs | Design Specifications
Safe | Skin Temperature Change: < 2℃ Feedback Current: 0 μA
Real-Time | Transmission Rate: 128 kB/s Sampling Rate: 1 kHz
Accurate and Comprehensive | Sampling Precision: 16-channel, 8-bit Sampling Rate: 1 kHz
Low Power and Long Lasting | Battery Life: at least 24 hours
Portable and Convenient | Module Size: 4x4 mm cross section

## Slide 2: System Diagram